## Attribute Gage R&R
ATTRIBUTE GAGE R&R (ATTRIBUTE AGREEMENT ANALYSIS) TEMPLATE - 3 TRIALS
| Within-Appraiser Agreement |  |  | Appraiser vs Standard Accuracy |  |  | System Status Verdict
| 96.67% |  |  | 96.67% |  |  | ACCEPTABLE
Part ID | Master Standard (1/0) | Operator Name | Trial 1 (1/0) | Trial 2 (1/0) | Trial 3 (1/0) | Within Agreement | Vs Master Accuracy | Comments / Defect Type
1 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
2 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
3 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
4 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
5 | 1 | Operator A | 22 | 1 | 1 | 0% | 0%
6 | 1 | Operator A | 1 | 23 | 1 | 0% | 0%
7 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
8 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
9 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
10 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
11 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
12 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
13 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
14 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
15 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
16 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
17 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
18 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
19 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
20 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
21 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
22 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
23 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
24 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
25 | 1 | Operator A | 1 | 1 | 1 | 100% | 100%
26 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
27 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
28 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
29 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
30 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
31 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
32 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
33 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
34 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
35 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
36 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
37 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
38 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
39 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
40 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
41 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
42 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
43 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
44 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
45 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
46 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
47 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
48 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
49 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
50 | 0 | Operator A | 0 | 0 | 0 | 100% | 100%
1 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
2 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
3 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
4 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
5 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
6 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
7 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
8 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
9 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
10 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
11 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
12 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
13 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
14 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
15 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
16 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
17 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
18 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
19 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
20 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
21 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
22 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
23 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
24 | 1 | Operator B | 1 | 1 | 1 | 100% | 100%
25 | 1 | Operator B | 1 | 0 | 1 | 0% | 0%
26 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
27 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
28 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
29 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
30 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
31 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
32 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
33 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
34 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
35 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
36 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
37 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
38 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
39 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
40 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
41 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
42 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
43 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
44 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
45 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
46 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
47 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
48 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
49 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
50 | 0 | Operator B | 0 | 0 | 0 | 100% | 100%
1 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
2 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
3 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
4 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
5 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
6 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
7 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
8 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
9 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
10 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
11 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
12 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
13 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
14 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
15 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
16 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
17 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
18 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
19 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
20 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
21 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
22 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
23 | 1 | Operator C | 1 | 1 | 1 | 100% | 100%
24 | 1 | Operator C | 1 | 0 | 0 | 0% | 0%
25 | 1 | Operator C | 1 | 0 | 0 | 0% | 0%
26 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
27 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
28 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
29 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
30 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
31 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
32 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
33 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
34 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
35 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
36 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
37 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
38 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
39 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
40 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
41 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
42 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
43 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
44 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
45 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
46 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
47 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
48 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
49 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%
50 | 0 | Operator C | 0 | 0 | 0 | 100% | 100%

## Guidelines
USER GUIDELINES & IMPLEMENTATION MANUAL - ATTRIBUTE GAGE R&R
1. Purpose of Attribute Gage R&R Analysis
Attribute Gage R&R (Attribute Agreement Analysis) evaluates the consistency, repeatability, and accuracy of inspectors making discrete decisions (Pass/Fail, Accept/Reject, Go/No-Go). This template evaluates 50 parts across 3 operators and 3 blind trials to determine if visual or subjective inspection systems are statistically reliable.
2. Step-by-Step Execution Workflow
Step 1: Select 50 representative test parts (approx. 25 clear passes, 15 clear fails, and 10 marginal boundary parts). Step 2: Have a domain expert or gold-standard device evaluate each part to establish the Master Standard (1 = Pass, 0 = Fail). Step 3: Randomize the part order and present them blindly to Operator A, B, and C across 3 separate inspection trials. Step 4: Record results as '1' for Pass or '0' for Fail in columns D, E, and F on the 'Attribute Gage R&R' sheet.
3. Acceptance Criteria & Evaluation Benchmarks
Assessment Metric | Acceptable | Marginally Acceptable | Unacceptable
Within-Appraiser Repeatability | >= 95% | 80% to < 95% | < 80%
Appraiser vs Master Accuracy | >= 90% | 80% to < 90% | < 80%
Overall System Effectiveness | >= 90% | 80% to < 90% | < 80%
Cohen's Kappa (k) Score | >= 0.75 | 0.40 to < 0.75 | < 0.40
4. Corrective Actions for Unacceptable Systems
High Repeatability + Low Accuracy: Inspectors are consistent with themselves but consistently wrong against the standard. Solution: Retrain inspectors using boundary samples and update defect definitions. Low Repeatability + Low Accuracy: High randomness in inspection decisions. Solution: Improve visual lighting, introduce physical magnification/fixtures, or refine inspection standard operating procedures (SOPs).